## 100% Wind - 0% Solar
TECHNO-ECONOMIC ASSESSMENT WITH SENSITIVITY ANALYSIS
[12 empty] | Equipment Data Cost |  |  |  | Raw Material / Utility | [5 empty] | Products Data
TEA Inputs/Assumptions |  |  | Total Capital Investment Methodology (TCI) | [8 empty] | Process Area | Process Area Name | Installed Cost ($) | Inside Battery Limit ($) | Process Area | Raw Material | Flow Rate (kg/hr) or Power / Capacity (kW) | Unit Price ($/kg) | Annual Amount ($/year) | Total Amount ($) | Process Area | Products | Flow Rate (kg/hr) | Unit Price ($/kg) | Annual Sale ($/year) | Total Revenue of Sale ($)
|  |  | Total Installed Equipment Cost | IC | [7 empty] | 1 | Test Equipment Data 1 | 1 |  | 1 | Testing Raw Material 1 | 1 | 0.1 |  |  | 1 | Testing Product Data 1 | 1 | 0.1
|  |  | Warehouse | 4% | of ISBL |  |  |  |  | Total Installed Equipment Cost (IC) |  |  | Test Equipment Data 2 | 2 |  |  | Testing Raw Material 2 | 2 | 0.2 |  |  |  | Testing Product Data 2 | 2 | 0.2
|  |  | Site Development | 9% | of ISBL |  |  |  |  | Construction |  |  | Test Equipment Data 3 | 3 |  |  | Testing Raw Material 3 | 3 | 0.3 |  |  |  | Testing Product Data 3 | 3 | 0.3
|  |  | Annual Piping | 5% | of ISBL |  |  |  |  | Home Office
|  |  | Total Direct Cost | TDC | [5 empty] | Other
|  |  | Portable Expenses | 10% | of TDC |  |  |  |  | Project Contingency
|  |  | Field Expenses | 10% | of TDC |  |  |  |  | Working Capital & Site
|  |  | Home Office & Construction Fee | 20% | of TDC
LCOH |  |  | Project Contingency | 10% | of TDC
NPV |  |  | Other Costs (Start-Up, Permits, etc.) | 10% | of TDC
ROI |  |  | Total Indirect Cost | TIDC
|  |  | Fixed Capital Investment | FCI
Total Raw Material Cost |  |  | Land | 2% | of IC
Manufacturing Cost |  |  | Working Capital | 5% | of FCI
Labour Cost |  |  | Total Capital Investment | TCI
Total Revenue from Products Sale
Electrolyzer Sizing Inputs |  |  | Ignore this yellow highlighted part
Required hydrogen flow rate | 5555.5556 | kg/hr
Efficiency of electrolyzer | 70% | %
LHV of H2 | 0.033 | MWh/kg
Required power | 261.9048 | MW
Depreciation Factor
End of Year | Investment | Depriciation (Straight-Line) | Book Value | Revenue | Cost of Manufacturing | Cash Flow after Tax | After Tax Cash Flow | Comulative Sum | Discounted Cash Flow | Comulative Discounted Cash Flow | Factor for Automatic Calculation of Payback Period (ignore this)
0 | [10 empty] | -
1 | [10 empty] | -
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
Economic Indicator Results
Net Present Value |  | NPV
Net Profit before Taxes = R-COM |  | Net Profit Before Taxes
Net Annual Profit = (R-COM)(1-t) |  | Net Annual Profit
Payout = TCI/Net Profit Before Taxes |  | Pay Out [yrs]
Return on Investment = Net Annual Income/TCI |  | ROI [%]
Internal Rate of Return |  | IRR [%]
Total Profit
Sensitivity Analysis
Parameters | Min | Max |  | Min Variation | Base Value | Max Variation
|  |  |  | 20% |  | 20%
|  |  |  | 20% |  | 20%
|  |  |  | 20% |  | 20%
|  |  |  | 20% |  | 20%
|  |  |  | 20% |  | 20%
|  |  |  | 20% |  | 20%
|  |  |  | 20% |  | 20%
Enter One More Parameter |  |  |  | 20% |  | 20%
Enter One More Parameter |  |  |  | 20% |  | 20%
Enter One More Parameter |  |  |  | 20% |  | 20%
Enter One More Parameter |  |  |  | 20% |  | 20%
Enter One More Parameter |  |  |  | 20% |  | 20%
Enter One More Parameter |  |  |  | 20% |  | 20%
Enter One More Parameter |  |  |  | 20% |  | 20%
Enter One More Parameter |  |  |  | 20% |  | 20%
| Min |  | Max
| Min | Max
Levelized Costs
Year | Discounted Depriciation | Discounted Product Units | Discounted Manufacturing Cost
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
Total (USD)
Total (Million USD)
Total Life Cycle Cost (TLCC)
Product (kg in lifetime)
Levelized Cost ($/kg)
Capital Costing of Green Hydrogen |  |  |  | TEA Costing Data |  |  | Current and Future Cost of Equipments
Parameters | Units | Value |  | Parameters | Units | Value | Year | Wind Turbine ($/kW) | Solar PV ($/kW) | Electrolyzer ($/kW)
Product Demand | MTPD | 100 |  | 1. Costing Parameters |  |  | 2025
| kg/hr |  |  | Annual Operating Hours | hr | 6570 | 2027
|  |  |  | Tax Rate |  | 15% | 2030
1. Electrolyzer |  |  |  | Discount Rate |  | 8% | 2035
Efficiency of AWE Electrolyzer |  | 70% |  | Profit Margin |  | 5% | 2040
LHV of Hydrogen | MWh/kg | 0.033 |  | Depriciation Year | yr | 7 | 2045
Cost of AWE Electrolyzer | $/kW |  |  | Salvage Value | $ | 0 | 2050
|  |  |  | Project Life | yr | 25
2. Solar System |  |  |  | Plant Start-Up Year | yr | 2
Efficiency of DC to AC |  | 80% |  | Analysis Year |  | 2025
Size of Solar Panel | W | 555 |  | Cost Input Approach |  | Lowest
Length of Solar Panel | m | 2.28
Width of Solar Panel | m | 1.13 |  | 2. Products Data
Cost of Solar PV | $/kW |  |  | Selling Price of Green Hydrogen | $/kg | 13.67 | [21 empty] | Current and Future Cost of Equipments
|  |  |  | Selling Price of Oxygen | $/kg | 0.15 | [22 empty] | Wind ($/kW) | [6 empty] | Solar PV ($/kW) | [6 empty] | Electrolyzer ($/kW)
3. Wind Turbine | [28 empty] | 2025 | 2027 | 2030 | 2035 | 2040 | 2045 | 2050 | 2025 | 2027 | 2030 | 2035 | 2040 | 2045 | 2050 | 2025 | 2027 | 2030 | 2035 | 2040 | 2045 | 2050
Reated Power (Pr) | MW | 3.6 |  | 3. Raw Material / Utilities Costs and Flow | [23 empty] | Lowest | 1060 | 930 | 800 | 763 | 725 | 688 | 650 | 466 | 403 | 340 | 296 | 253 | 209 | 165 | 500 | 450 | 400 | 350 | 300 | 250 | 200
Cut-In Velocity (Vcut-in) | m/s | 4.5 |  | Deionized Water | [23 empty] | Mid | 1242 | 1158.5 | 1075 | 1013 | 950 | 888 | 825 | 744 | 665.5 | 587 | 521 | 455 | 389 | 323 | 813 | 719 | 625 | 581 | 538 | 494 | 450
Cut-Out Velocity (Vcut-out) | m/s | 25 |  | Flow Rate of Nitrogen | kg/kg of H2 | 10 | [21 empty] | Highest | 1424 | 1387 | 1350 | 1263 | 1175 | 1088 | 1000 | 1022 | 928 | 834 | 746 | 658 | 569 | 481 | 1125 | 987.5 | 850 | 575 | 775 | 738 | 700
Reated Velocity (Vr) | m/s | 15 |  | Cost of Deionized Water | $/kg | 0.003
Cost of Wind Turbine | $/kW |  |  | KOH
|  |  |  | Flow Rate of KOH | kg/kg of H2 | 0.000275
|  |  |  | Cost of KOH | $/kg | 2.74
Steam
|  |  |  | Flow Rate of Steam | kg/kg of H2 | 0.0038
|  |  |  | Cost of Steam | $/kg | 0.3
Nitrogen
|  |  |  | Flow Rate of Nitrogen | kg/kg of H2 | 7.115e-05
|  |  |  | Cost of Nitrogen | $/kg | 0.01
|  |  |  | Hydrogen Storage Cost (for 30%) |  | 0.5
Transportation Cost of Water
|  |  |  | LCOW transportation for 100 km | $/kg
|  |  |  | Distance to Sohar Port | km | 279